NANDINI  ENGINEERS – A’bad.

E-mail : pinaldj1812@yahoo.com

|  | CONTROL UNITS : TEMP. CONTROL. TEMP. SWITCHES. CURRENT LIMITERS. THERMOSTATE, TEMP. REGULATORS. THERMAL FUSES. PTC, MOTOR PTC, NTC, MOXIE. COMPONEBTS TO CUSTOMERS REQUEST. VARISTORS. TEMP. PROBES.. THERMISTOR. |
| --- | --- |

| TEMPERATURE SWITCH |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | open construction for use as control, protection or limit device, or with electrical self-hold. Vnom 110 V, 250 V, 50-60 Hz 6-24 V DC Inom 1A to 16 A Switching temperatures: 40°C to 160°C |  |  |
|  |  | TEMPERATURE SWITCH |  |  |
|  |  | for electronic applications Vnom 110 V, 250 V, 50-60 Hz, 6-24V DC Inom 2 A to 6 A Switching temperatures: 50°C to 150°C |  |  |
|  |  | TEMPERATURE SWITCH |  |  |
|  |  | enclosed construction for use as control, protection or limit device or with electrical self-hold Vnom 110 V, 250 V, 400 V, 50-60 Hz, 6-24V DC Inom 1A to 16 A Switching temperatures: -20°C to 180°C |  |  |
|  |  | TEMPERATURE SWITCH |  |  |
|  |  | for high temperatures cut-out, limit device Vnom 110 V, 250 V, 400 V 50-60 Hz, 6-24V DC Inom 1 A to 20 A Switching temperatures: 50°C to 425°C |  |  |
|  |  | TEMPERATURE SWITCH |  |  |
|  |  | protection for motor/transformer windings Vnom 110 V, 250 V, 400 V, 50-60 Hz, Inom 1A to 20 A Switching temperatures: 50°C to 180°C |  |  |

|  |  | TEMPERATURE-/ CURRENT SWITCH |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | with adaptable current sensitivity used as current/time element, protector limiter or with electrical self-hold Vnom 12-30 V DC, 110 V, 250 V, 400 V 50-60 Hz, Inom 2A to 16 A switch off time up to 60 secs |  |  |  |  |  |  |  |
|  |  | TEMPERATURE SWITCH |  |  |  |  |  |  |  |
|  |  | protection for motor/transformer windings sensing control (current/temperature) Vnom 110 V, 250 V, 50-60 Hz, Inom 1A to 20 A switching temperatures: 50°C - 180°C |  |  |  |  |  |  |  |
|  |  | THERMAL FUSES |  |  |  |  |  |  |  |
|  |  | Vnom 110 V, 250 V, 50-60 Hz, Inom 1A to 7A Switching temperatures: 98°C to 335°C Vnom 110 V, 250 V, 50-60 Hz, Inom 1A to 16 A Switching temperatures: 72°C to 240°C |  |  |  |  |  |  |  |
|  |  | NTC-THERMISTORS |  |  |  |  |  |  |  |
|  |  | with step function characteristic (Moxie) for electronic applications Temperature range: 57°C to 85°C |  |  |  |  |  |  |  |
|  |  | TEMPERATURE PROBES |  |  |  |  |  |  |  |
|  |  | surface mounted, screw-in, immersion types with NTC or PTC resistances or as PT100 Measuring range: -50°C to 260°C |  |  |  |  |  |  |  |
|  |  | PTC-THERMISTORS |  |  |  |  |  |  |  |
|  |  | Temperature Sensor for motor protection, single, twin and triplet versions Vb max. 25V per Chip Response temperatures from 80°C to 180°C |  |  |  |  |  |  |  |

NANDINI ENGINEERS / MR.PINAL JOSHI. 98252 15244. E-mail : pinaldj1812@yahoo.com

F-22, SARTHI COMPLEX, OPP. BRTS BUS STOP, JASODA NAGAR CHAR RASTA, AHMEDABAD – 382445. GUJ. INDIA.